Contents

Topic	1

Terminology	1

What is (smart) energy management	1

# Topic

6. Smart-Energy-Management-System für eine Stadt

Ziel: Optimierung von Energieverbrauch und -erzeugung.

Anforderungen

- Erfassung von Verbrauchs- und Erzeugungsdaten

- Prognosen für Last und Erzeugung

- Empfehlungen für Energieoptimierung

- Steuerung von Batteriespeichern, Wärmepumpen etc.

- Visualisierung von Kennzahlen und Trends

# Terminology

| HVAC | Heating, Ventilation, Air Conditioning |
| --- | --- |
| IoT | Internet of Things (device network with sensors, software and network connectivity) |
| DERS | Distributed Energy Resources (small-scale energy assets that generate, store or consume energy) |

# What is (smart) energy management

https://www.interregeurope.eu/find-policy-solutions/policy-briefs/smart-energy-management

- “Smart energy management involves the efficient monitoring, controlling and optimization of energy systems and infrastructures through information and communication technologies and data-driven strategies.”

https://www.mrisoftware.com/blog/what-is-smart-energy-management/

- Reduce energy costs and improve operational efficiency. Causes for inefficiency:

  - Inefficient energy use: running HVAC in unoccupied rooms

  - Peak demand changes: unnecessary energy use during high-rate hours

  - Manual adjustments: reliance on staff for energy monitoring and control

- Uses technology to monitor and optimize energy consumption in real time

- Usage patterns > inefficiencies > actionable improvements

- Automation of energy decisions for consistent and efficient results

- Use of automated controls, predictive analytics, IoT devices

- Consists of: IoT devices (data collection), smart meters, energy analysis software

  - IoT devices: Smart thermostats, motion detectors, and energy plugs.

  - Energy management platforms: Tools like MRI Software’s energy analysis software to centralize data and analytics.

  - Smart meters: Devices providing real-time consumption data for individual apartments or entire buildings.

  - Renewable energy systems: Solar panels or wind turbines integrated into the grid

- Sensors track variables like temperature, humidity, and occupancy.

- Meters record and report the total energy consumed in real-time.

- Data from both devices integrates into a platform for analysis and actionable recommendations.

https://www.gridx.ai/knowledge/what-is-an-energy-management-system

Components:

- Gateway: data collection and processing system

- Software: range of sophisticated algorithms that create rules and restrictions to control energy assets according to specific needs

- Interface: platform that enables users to visualize live and historical data, view KPIs, set parameters, and manage energy flows

Applications:

- HEMS (Home Energy Management System)

- BEMS (Building Energy Management System): monitoring and controlling a building’s energy needs, e.g. management of HVAC, lighting, security measures, electric vehicle charge

- FEMS (Factory Energy Management System): energy generation and consumption in the industry sector

- CEMS (Community Energy Management Systems): integration of all previous systems to enable smart energy management on a larger scale for entire communities

´Types of EMS

- Rule-based: focus on the design and implementation of logic governing energy distribution among DERS

- Forecast-based: advanced optimization strategies for complex energy management scenarios, analysis of various forecasting strategies, considering factors like model types, data availability, optimization frequency

- Cloud-based: remote access to essential energy-related data and tools, eliminating geographical constraints, data collection from energy meters, sensors, cloud-based storage, advanced analytics and real-time reporting

https://en-expert.com/energiemanagement-kommunen-smart-city/

“Sobald das EMS installiert ist, beginnt sein Hauptbetrieb: kontinuierliche Überwachung, Analyse und Bewertung der gesammelten Daten. Das System sammelt Daten aus verschiedenen Energiequellen innerhalb Ihrer Gemeinde und verarbeitet sie in Echtzeit. Diese Daten werden dann auf einem benutzerfreundlichen Dashboard angezeigt, das es kommunalen Managern ermöglicht, den Energieverbrauch genau zu überwachen.”

https://www.smart-city-dialog.de/aktuelles/news/smarte-energiewende